## Slide 1: Hybrid Measures Subcommittee Meeting #3
Ayad Al-Shaikh
March 3, 2020

## Slide 2: Quick Updates
We will have a page on the Cal TF website that includes the meeting materials from this subcommittee
DropBox link will be sent out in our next meeting invitation
Next Cal TF Meeting will be on March 12th in by Teleconference

## Slide 3: Plan for Today
Plan for Today
  Voting Results
  Discuss the top measure choices
    How do these choices align with hybrid goals / hybrid definition?
    Do we need to change the definition or are we aligned correctly?
Information changed from the 1st meeting is in blue text.

## Slide 4: Hybrid Measures with the eTRM
Goal
  Review a strawman concept of a hybrid measure
  Assemble a subcommittee to begin discussing the topic
Business Plan Goals
  Develop guidelines for “hybrid measures” created through consensus process
  Identify and create hybrid measures

## Slide 5: Hybrid Measure
Goals
  For a discrete (but growing) number of measures, document a framework for how to submit the custom measure
  Clarity that the submittal is expected to result in packets that:
    Provide deeper / more complete documentation
    Require less review / oversite
    Provide clarity and assurance on the approval process
  Captures data in a structured format that could:
    Improve inputs over time
    Result in converting the hybrid measure to a deemed measure
  Need standard process for application flow
  Anything else? (email me your ideas to integrate)

## Slide 6: Hybrid Measure
Target Measure
  Installed frequently, repeatably throughout the state
  Enough clarity about the installation exists that there is acceptable trade-off between rigor and reliability of the measure savings amount, persistence, double-dipping, gaming, etc.
  Clear relationship between impact parameters
  Minimum and maximum project size or incentive amount could exist (per unit)
    Ideally streamlined approach can reduce the minimum threshold of savings for accepting a project
    Alternatively, more stringent “voluntary” M&V could increase the maximum incentive below which CPR can be streamlined (waived?)
Notes: we should consider if it should be “voluntary M&V” or “automated M&V” that becomes the trigger and whether the result is to loosen the rigor of the CPR process (perhaps—up to the reviewer), lessening the frequency of CPR selection for such projects (probably not), or to completely exempt the project from CPR (no way). My sense is that the level of rigor and frequency of CPR review needs to stay the same but by designating alternative M&V pathways as acceptable forms of M&V (with equivalent levels of M&V rigor as full custom measures), that this would satisfy the evaluators who perform Custom Project Reviews, and thereby accomplish the same goal…streamlining, reducing delays, minimizing the implementation and evaluation costs by minimizing the number of projects that are subject to follow-up data requests and possible rejection… In other words, I don’t think it is appropriate to both reduce the rigor of the M&V (automated data collection) and reduce the rigor of the checks-and-balances (CPR) until we know that the new hybrid approach works.

## Slide 7: Hybrid Examples
Example Types
  Type 1: Today, measure considered to be custom
    Calculation methodology generally accepted
    Baselines generally accepted for various building types / customer sizes
    Savings may vary significantly based upon one or more sensitive variables
    Reasons for installation generally understood
  Type 2: Today, measure considered to be deemed
    In addition to Type 1 notes, special cases exist that are not included in deemed methodology
      Target market or delivery channel may not be included or possible
      POU only measure
  Type 3: Approved Prototype Model
  Type 4: Widget that documents its own energy usage

## Slide 8: Hybrid Example: Type 3
Approved Prototype Model
  Start with an approved prototype model
  Identify a few, specific keywords that can be changed to reflect site specific baseline
    Models would not be calibrated to site specific usage
    Savings can be calculated per “unit”, ie kWh/ton
  Example:
    VFD on Central Plant Pumps and Fans
      Workpaper specifies a constant speed primary and secondary loop
      Existing variable speed secondary pumps would not allow the workpaper to be utilized
      Savings could be calculated “per-HP”

## Slide 9: Hybrid Example: Type 4
Widget that documents its own energy usage or built-in feature supporting automatic M&V
  Popular measure
  Savings vary significantly because of operational choices and/or configuration
  Widget self-reports the energy consumption
    Add-on submeter causes the device to “phone home” with status, e.g., “% run time” and/or demand and/or usage data
    Very expensive to submeter and/or hard-to-access equipment for data collection purposes
  Examples:
    Networked Lighting Controls
    Advanced Rooftop Controls
Back
Notes: e.g., attaching CTs to mains requires shutting down the equipment (and therefore not going to happen in most industrial settings).

## Slide 10: Hybrid Examples
See Spreadsheet…
Example Measures to Consider
  VFD for Process Fans
  Lighting
  Lighting Controls
  Steam Traps
  Airflow Adjustments in Telecommunication Buildings
  Evaporative Condenser
  Process Boiler
  VFD / Modulating Air Compressor
  Pump Overhaul
  Downstream HVAC – Unitary AC and HP
  Industrial Processes (multiple shifts)
  Chiller Measures
  Add-ons that supports automated data collection and reporting
Back
Notes: Mention: pay-as-you-save, micro-savings measures, DR measures

## Slide 11: Hybrid Package
Project Application
  Eligibility
  Project Drivers
  Facility Description
  Meter Information
  Equipment Inventory
  EEM-Measure Application Type
  EEM-EUL
  EEM-Standard Practice Discussion
  Existing Equipment/System Operation
  Non-IOU Fuel Source
  Calculation Methodology
  Calc Methodology References
  Estimated Cost
  Measurement and Verification Plan
  Additional References
Installation Report
  Cost Invoices
  Executed M&V Plan
Being updated
Goal:
  Not creating new documents
  Using existing documents; pre-completing and/or pre-defining what the documentation must look like
See spreadsheet
Question: Are there statewide forms that exist now?
Back

## Slide 12: POE Documentation
Variable POE based upon
  Program design
  Delivery type
    DI requires less because…
  Business size
    Certified small business requires only evidence of operability and statement of intent to continue operating
  Project size
  Measure specific issues / benefits
    Some measures may need more focus on influence rather than viability

## Slide 13: M&V Plan Documentation
Plans may vary with project size
Sensitive variables should be identified
Specific parameters must be documented:
  How to collect data on-site (measurement type, frequency, procedure)?
  What parameters can/must be deemed.

## Slide 14: Hybrid – Next Steps
Hybrid Subcommittee
  Solidify Measure Champions
  Meeting #4, March 26th (12 – 2pm)
    Discuss project flow
    Discuss Measures in more detail
      Status of the package
      Review examples / get lots of feedback!

## Slide 15: Back-up Documentation
Early example of VFD for Process Fan
LADWP data
Process timeline (drafting)
Mtg #1 information/questions
Deemed vs Custom Question

## Slide 16: Hybrid Examples – Deeper Dive VFD for Process Fans
Methodology
  Description: Standardized project description and methodology
    Some customer specific nuances
  Source: SCE CCT Energy Savings Calculation or DOE Fan Assessment Tool
Inputs required
  Existing and Proposed
  Examples of inputs: (not all inputs listed)
    Field Inspection Data:
      Model number, Serial number, Motor rated hp
        (nameplate photo, time-stamped)
      Operating modes (customer supplied, but standardized input form)
    Field Measurement: ( Drive by risk assessment)
      Operating power:
        <20,000 kWh = calculated with assumed load factor
        20,000-50,000 kWh = spot amperage measurement
        >50,000 kWh = two-week power trend
    Assumed Value: Motor efficiency = NEMA Nominal

## Slide 17: Hybrid Examples – Deeper Dive VFD for Process Fans
Supporting Documents Standardized
  Should include any documents that we can complete (really well) but then leverage for all other projects.
  Apps tailored to the measure and installation method, e.g., DI, that support field data collection, e.g., nameplate photo storage (encoder/decoder?)
  Application Phase
    Baseline, code, or standard practice documentation depending upon the market sector
    Disposition documentation linked to the measure (if exists)
    Influence documentation clearly described, but varying by the customer size and project size
    Baseline project cost available if needed (documented from prior submittals)
  Installation Phase
    Cost submitted as an invoice with material and labor costs separated
  M&V Phase
    Criterion for pre-defined, streamlined M&V Plan

## Slide 18: Hybrid Examples – Deeper Dive VFD for Process Fans
Project workflow (TBD)
  Statewide forms/tools available from the eTRM – longer term
  Electronic submittal to a secure location
  Approval state clearly visible
  Discuss expedited / automatic approval if:
    Enhance package submitted
    Not part of random, spot-check process, or auto-reporting system rather than custom-project review
  Centralized data repository for project-specific M&V data

## Slide 19: LADWP Hybrid Measure Data - 2019

## Slide 20: Project Timeline
Streamline project workflow
  Example from NMEC
    Custom Review Team (IOU) feedback is binding but projects to not need to wait for approval before installation

## Slide 21: Hybrid – Next Steps
Hybrid Subcommittee
  Please let me know if you are interested
  Meetings: Thursday (every two weeks, 2-hr)
  Meeting #1, Feb 6th (12 – 2pm)
    Goals:
      Take additional feedback on the Strawman
      Establish next steps
  Meeting #2, Feb 20th (12 - 2pm)
    Goals:
      Identify measures to move forward with
      Review draft plans for Hybrid guidelines (how identify, how treated, measure types, basic framework, etc)

## Slide 22: Plan for Mtg #1
Where are Hybrid-like measures used now?
CA Data overview
  Suggestions on how to slice this data?
  Can it help us make a decision on which measures would make the largest impact?
Deemed vs Custom
  Thoughts and next steps
Hybrid Measure Types
  New ideas of what Hybrid is. –and- What is it not?
Starting to collect what a full package will look like

## Slide 23: New Question: Where are Hybrid measures used now? What can we learn from them?
Other jurisdictions: (examples)
  RTF (https://rtf.nwcouncil.org/standard-protocols)
    Action: Understand lessons learned
  Pennsylvania PUC (Deemed vs Partially-Deemed)
    Section 6.2 (see example)
CA POUs
  LADWP (custom calculation tool)
  Silicon Valley Power
CA IOUs – approved calculators
  Lighting calculator
  Steam traps (in the past)
  Air compressor projects
  Ag Pumping
  Book of Standards – Martin V / Pierre (PDF)
  Can you send me existing CA calculators?

## Slide 24: New Question: For CA - Deemed or Custom?
Should the measure be “claimed” ultimately as deemed or custom?
  If Deemed
    Issues
      May be CEDARS limitations (not designed to intake parameters that may calculate the savings)
    Benefits
      Not subject to ex ante review once measure is approved
      Feedback: Can use a deemed NTG value remove the need for POE?
  If Custom
    Issues
      Still subject to custom ex ante review selection unless this can be streamlined
    Benefits
      Pre-approved calculator and supporting documentation (ie, a “deemed” calculator) could improve the process
      Subject to light-touch custom-project review (similar to Modified Lighting Calculator, MLc-based DI program)
Next Step
  Determine the limitations in CEDARS to support claims (Action: Ayad)
Notes: How do our jurisdictions categorize these measures: deemed or custom?